## Slide 1
FPT EDUCATION
Overview of sensor
Version 3.0
08/08/2025

## Slide 2
What is a Sensor?

## Slide 3
What is a Sensor?
A sensor is a device that detects physical or chemical changes such as:
Temperature
Light intensity
Pressure
Humidity
Motion
It then converts these changes into electrical signals (analog or digital) that can be interpreted by electronic systems.
Difference between Sensor and Transducer

## Slide 4
Sensor Classification

## Slide 5
Sensor Classification
1. By Operating Principle:
Contact Sensors
Non-contact Sensors
2. By Measured Quantity:
Temperature Sensors
Pressure Sensors
Position/Displacement Sensors
Optical Sensors
Chemical Sensors
3. By Output Signal:
Analog Sensors
Digital Sensors

## Slide 6
Signal Conditioners
Operational Amplifiers (Op-Amp)
  OP-AMPs are also used as cells in custom-made integrated circuits—analog or mixed technology
  Fig. 6.5a shows a good operational amplifier has the following properties (symbol representation of Op-Amp)
  For moderate accuracy, the open-loop gain of an Op-Amp should be at least 100 times greater than closed-loop
  For higher accuracy, ratio of open- and close-loop gains should be 1000 and more

## Slide 7: Temperature sensors

## Slide 8: Temperature sensors – IC LM35
ADC 10bit: Vin = (Vref*ADC)/1024
ADC 8bit: Vin = (Vref*ADC)/256

## Slide 9: Sound sensors

## Slide 10: Sound sensors

## Slide 11: Sound sensors

## Slide 12: Light sensors

## Slide 13: Light sensors

## Slide 14: Ultranic Distance sensors

## Slide 15: PIR sensors

## Slide 16: GAS sensors

## Slide 17: THANK YOU